## Slide 1
Marshagne Smith
SASCM EUCAST Implementation Workshop
26 May 2016
Challenges facing EUCAST implementation in the laboratory focusing on phenotypic testing

## Slide 2
www.eucast.org

## Slide 4
Media
Discs
Inoculum
Technique
Temperature
Time

## Slide 7
EUCAST DISC DIFFUSION TEST-MEDIUM

## Slide 9
Makes about 625 plates

## Slide 10
“I just spoke to our supplier and he says yes you do get defibrinated whole blood, but the procedure is too expensive for them so they do not supply it”
“if it defibrinated blood that you need, it is much more expensive than the normal anti-coagulated blood”
Comments from a media producer

## Slide 12
EUCAST DISK DIFFUSION TEST - DISKS
Cefotaxime
Ceftazidime
Colistin
Netilmicin
Nitrofurantoin
Piperacillin
Pip-Taz
Fosfomycin
Netilmicin
Among others….

## Slide 16
EUCAST DISK DIFFUSION-QUALITY CONTROL

## Slide 17
EUCAST DISK DIFFUSION TEST - INOCULUM

## Slide 22
EUCAST DISK DIFFUSION TEST-READING

## Slide 24
EUCAST DISK DIFFUSION TEST-OTHER

## Slide 28
Major considerations
1. Production and cost of the MH-F medium
2. Sourcing and procurement of discs with different concentrations
3. Validation of media and discs
4. Updating of SOP’s
5. Training and re training of staff

## Slide 29: Thank you for your attention!!